PROSPECTS

IN PHARMACEUTICAL SCIENCES

Prospects in Pharmaceutical Sciences, 23(4), 127-133

https://prospects.wum.edu.pl/

Original Article

DEVELOPMENT OF A UV SPECTROSCOPY METHOD TO VALIDATE p-COUMARIC ACID AND ASSESS THE ANTIOXIDANT ACTIVITY OF A p-COUMARIC ACID GEL PRODUCT

Jitendra W Gajbe1*, Ashiwini R Madgulkar1, Minakshi Shinde1

1Savitribai Phule Pune University.AISSMS College of Pharmacy Pune-411001 (MS) India.

* Correspondence,e-mail:jitendragajbe@gmail.com

Received: 03.03.2025 / Revised: 05.06.2025 / Accepted: 05.06.2025 / Published online: 07.08.2025 / Published in final form: 18.12.2025

ABSTRACT

Ultraviolet spectroscopy is one of the simple, rapid, cost-effective, and precise instrumental methods. The objective of this study was the development of the UV spectroscopy method for the validation of p-coumaric acid according to the International Council for Harmonization guideline [ICH Q2 (R1)] as reported in this work. Antioxidant activity was performed by the DPPH (2,2-diphenyl-1-picrylhydrazyl) method. The UV method had not yet been developed for the above drug; this was the research gap, so validation was studied using ethanol and phosphate buffer (pH 6.8). Method A involved the preparation of the sample and standard solutions in ethanol, whereas method B involved the preparation of the solution in a mixture of phosphate buffer (pH 6.8). Two methods were employed to select unique wavelengths for drug analysis. Method A selected 229 nm, whereas method B selected 284 nm. The drug's linearity for method A and method B was found within the concentration range of 2–10 μg/mL (R2=0.98) and 5–25 μg/mL (R2=0.99), respectively, and the accuracy of both methods was evaluated by computing recovery percentages at 80, 100, and 120 percent. It was found that the recovery percentage using both approaches was between 80 and 90 percent. The lower percentage relative standard deviation (RSD) readings indicated how accurate both approaches were. The precision of the procedure was intended to be repeatable both within and between days. The fact that the % RSD value was less than 2 suggests that both approaches are accurate. With the use of ± wavelength variation, the robustness of both techniques was investigated. The active ingredient p-coumaric acid was included in the aqueous gel of HPMC K100M (hydroxypropyl methylcellulose) and Carbopol 971P polymer and its antioxidant activity was evaluated using the DDPH free radical scavenger test (IC50). The result was found to be 0.833 mg/mL. Conclusion: p-coumaric acid in pharmaceutical dosage form was successfully analyzed by the UV method and demonstrated significantly good antioxidant activity.

KEYWORDS: Validation, p-coumaric acid, International Council for Harmonization (ICH), topical gel, spectroscopy, antioxidant.

Article is published under the CC BY license.

- 1. Introduction

p-Coumaric acid (Fig. 1) is an organic compound that is a hydroxy derivative of cinnamic acid, i.e., 4-hydroxycinnamic acid, and a phenolic acid having therapeutic effects against various diseases [1]. p-Coumaric acid is a Biopharmaceutical Classification System (BCS) Class II active drug; it is slightly soluble in ethanol, dimethyl sulfoxide (DMSO), and dimethyl formamide (DMF). p-coumaric  acid is available in two forms: trans-p-coumaric acid and cis-p-coumaric acid [2-6]. It is obtained from natural and synthetic derivatives of p-coumaric acid and through extraction methods, i.e., classical methods like solvent extraction, acidification, and alkaline extraction, etc., and newer techniques such as clip-off method, sugaring-out method, and soft microwave extraction, etc., which have been reported in the literature for its qualitative and quantitative estimation in different plant materials [7].

Numerous researchers have described the multifaceted medicinal properties of p-coumaric acid. Primarily, it possesses antioxidant activity that is responsible for neutralizing free radicals in the body. Due to this, it is a good candidate for safeguarding cells against oxidative stress and inflammation. The skin benefits of p-coumaric acid are especially remarkable, as it is capable of guarding against ultraviolet (UV)-induced damage and maintaining healthy skin overall. It has also been shown to possess cardioprotective, anti-melanogenic, antimutagenic, antiplatelet and immunomodulatory activities [8-11]. p-Coumaric acid is devoid of appreciable cytotoxicity within the range of effective concentrations [13]. Researchers have cited that analytical methods for the quantification of p-coumaric acid via the utilization of infrared spectroscopy (IR), high-performance liquid chromatography (HPLC), and titrimetric methods usually take a considerable amount of time and effort. This work focuses on the establishment of a less complicated UV spectroscopy technique for the determination of 
p-coumaric acid. However, the p-coumaric acid was included into an aqueous gel composed of HPMC K4M and Carbopol 971P gel and its antioxidant potential was assessed for dermal use. The principle behind the DPPH is the donation of a single electron[21]. Spectrophotometric estimation of the disappearance or disappearance rates of DPPH due to reaction with antioxidants provides the quantitative basis for this assay. The DPPH radical, whose unique purple color and high absorbance at 517 nm have made it widely used, is reduced upon reaction with an antioxidant molecule to produce a drop in absorbance that can be measured [22].

- Fig.1. Structure of p-coumaric acid [(E)-3-(4 hydroxyphenyl)-2-propionic acid ]

The literature review reveals comparatively few simple UV spectrophotometric methods for the determination of p-coumaric acid pharmaceutical dosage forms. To identify the light absorption by chemical compound solutions, a UV spectrophotometric method needs to be developed.

- 2. Materials and Methods

A pure drug powder sample of p-coumaric acid was procured from Yucca Enterprises, A-246, Antop Hill Warehousing Co., Wadala (E), Mumbai; disodium hydrogen phosphate and potassium dihydrogen phosphate (pH 6.8 buffer chemicals) were procured from Loba Chemie Pvt. Ltd. (Mumbai, India); HPMC K100M was procured from Analab Fine Chemicals (Mumbai); Carbopol 971P was procured from Loba Chemie Pvt. Ltd. (Mumbai, India); and ethanol solvent was obtained from S.D. Fine Chemicals Ltd., Mumbai. A UV spectrophotometer (Jasco V730) was used for UV validation.

- 2.1. Method A

- 2.1.1. Preparation of standard stock solution (ethanol)

10 mg of p-coumaric acid phytoconstituent was weighed and transferred into 10 mL of ethanol, to obtain a stock solution having a concentration of 1000 µg/mL. Working solutions were prepared by appropriate dilution with ethanol. 1 mL of the stock solution was diluted up to 10 mL with ethanol to prepare a 100 µg/ml solution, then 1 mL of this solution was diluted up to 10 mL to prepare a 10 µg/mL concentration solution; further dilutions were obtained using the above method.

2.1.2. .Selection of wavelength (ethanol)

2 mL of p-coumaric acid 100 µg/mL solution was taken and diluted up to 10 mL with ethanol to from a 20 µg/mL solution. It was then scanned under a UV range of 200-400 nm, with maximum absorbance observed at 300 nm as shown in Fig. 2.

Fig. 2. Absorbance spectra of p-coumaric acid in ethanol (maximum wavelength).

2.2. Method B

2.2.1. Preparation of standard stock solution (buffer)

10 mg of p-coumaric acid drug was weighed and dissolved in 10 ml of prepared phosphate buffer (pH 6.8). A 1 mg/mL stock solution was obtained. Further dilution with buffer to 10 mL gives working solutions such as 100 µg/mL, 10 µg/mL, etc.

2.2.2. Selection of wavelength (buffer)

2 mL of p-coumaric acid 100 µg/mL solution was taken and diluted up to 10 mL with pH 6.8 buffer solution to prepare a 20 µg/mL solution. It was then scanned under a UV range of 200-400 nm, with maximum absorbance observed at 284 nm [12] as shown in Fig. 3.

Fig. 3. Absorbance spectra of p-coumaric acid in pH 6.8 buffer (maximum wavelength).

2.3. Analytical methods of validation

The UV method for quantifying p-coumaric acid was validated based on guidelines. Different variables like linearity, accuracy, precision, robustness, limit of detection (LOD), and limit of quantification (LOQ) were evaluated [14-17].

2.3.1. Linearity

The linearity of an analytical method produces test results that are directly proportional to the concentration of the analyte within the sample. For the determination of linearity, five sets of each concentration were prepared and the absorbance of each concentration was recorded. By using the obtained data, plot the linearity calibration graph.

2.3.2. Accuracy

Accuracy was confirmed for methods A and B by percentage recovery of the known concentration of 
p-coumaric acid. The method was replicated three times for each concentration.

2.3.2.1. Method A

The accuracy of this method was determined by preparing solutions in ethanol, at different concentrations of 80%, 100%, and 120% (because when determining accuracy, we take 20% lower and higher concentrations) in which the amount of drug was kept constant, i.e., 10 µg, and the amount of pure drug was varied, i.e., 8 µg, 10 µg, 12 µg for 80%, 100%, and 120%, respectively. The solutions were prepared in triplicate in ethanol, and absorbance was recorded.

2.3.2.2. Method B

The accuracy of this method was determined by preparing pH 6.8 phosphate buffer in different concentrations of 80%,100%, and 120%, in for which the amount of drug was kept constant, i.e., 10 µg and the amount of pure drug was varied, i.e.,  8 µg, 10 µg, and 12 µg for 80%, 100%, and 120%, respectively. The solutions were prepared in triplicate in buffer, and absorbance was recorded. Accuracy was indicated by % recovery [12].

2.3.3. Precision

Precision-measured closeness among the information obtained in all experiments under the same conditions.

2.3.3.1. Method A

2.3.3.1.1. Intraday precision

Six solutions of ethanol of the same concentration were prepared and analyzed three times a day, in the morning, afternoon and evening. The result was indicated by % RSD.

2.3.3.1.2. Interday precision

Six solutions of ethanol of the same concentration were prepared and analyzed three times for three consecutive days, and absorbance was recorded. The result was obtained in % RSD.

2.3.3.2. Method B

2.3.3.2.1. Intraday precision

Six solutions of pH 6.8 phosphate buffer of the same concentration were prepared and analyzed three times a day, in the morning, afternoon and evening. The result was indicated by %RSD.

2.3.3.2.2. Interday precision

Six solutions of pH 6.8 phosphate buffer of the same concentration were prepared and analyzed three times for three consecutive days, and absorbance was recorded. The result was obtained in %RSD.

2.3.4. Robustness

The robustness of an analytical method is a measurement of its capacity to remain unaffected by small variations in method parameters. Variation in wavelength evaluates robustness.

2.3.5. Limit of detection (LOD)

The detection limit of an individual analytical procedure is the lowest amount of analyte in a sample that can be detected but not quantified. LOD was calculated by the following formula:

LOD = 3.3 (SD/S)

Where SD = standard deviation of response, S = slope of calibration curve.

2.3.6. Limit of quantification (LOQ)

The quantification limit of an individual analytical procedure is the lowest amount of analyte in a sample that can be quantitatively determined with suitable precision and accuracy.

LOQ = 10 (SD/S)

Where SD = standard deviation of response, S = slope of calibration curve.

2.4. Preparation of gel

The gel was prepared using a cold mechanical process according to the composition presented in Table 1. 1 g of p-coumaric acid was dissolved in 15 mL of glycerin with the assistance of mild heat. Weighed amounts of each 1 g HPMC K100M and Carbopol 971P were dispersed in 75 mL of distilled water under constant stirring using a magnetic stirrer so that no lumps were present in the dispersion. A 10% sodium hydroxide solution was added dropwise to achieve gel formation. At room temperature, the required amount of sodium benzoate was then added, and the formulation was checked. The formulated product was tested for antioxidant activity.

Table 1. Composition of p-coumaric acid gel

| Sr no | Ingredients | Quantity | Category |
| --- | --- | --- | --- |
| 1 | p-coumaric acid | 1 g | Active ingredient |
| 2 | HPMC K100M | 1 g | Gelling polymer |
| 3 | carbopol 971p | 1 g | Gelling polymer |
| 4 | glycerin | 15 mL | Humectant |
| 5 | sodium benzoate | 0.1 g | Preservative |
| 6 | 10 % NaOH | Quantity sufficient | pH Adjuster |
|  | Distilled Water | 100 mL | Vehicle |

2.5. Antioxidant activity

Antioxidant activity tests were conducted by DPPH radical scavenging assay. 10 mg of formulation was dissolved in 10 mL of methanol. From the stock solution, 1000 µL diluted solutions (100 µL, 200 µL, 300 µL, 400 µL, 500 µL, 600 µL) were prepared, and 3 mL of methanol was added to every test tube. Similarly, one blank solution of methanol was prepared, five stock solutions (test tube no. 1-5) and one control (test tube no. 6). The mixture was then mixed vigorously using a vortex for 1 minute. The mixture solution was incubated for 30  minutes at room temperature. The absorbance was determined at 517 nm. Percent inhibition was expressed in terms of inhibitory concentration 50 (IC50) based on a regression equation [18-20]:

% Radical scavenging activity or % Inhibition = 
(1 - Absorbance of sample / Absorbance of control) x100%

3. Results

The validation process of a method arises whenever a novel protocol is proposed or when an amendment is made to an already approved protocol. A method is validated if and only if it is suitable for its required purpose and yields sound output, which can be properly interpreted by the user. Results have been presented separately in the section for method A and method B.

3.1. For method A

Table 2. Linearity of p-coumaric acid in ethanol

| Sr.no. | Concentration (µg/mL) | Absorbance |
| --- | --- | --- |
| 1. | 5 | 0.151 |
| 2. | 10 | 0.479 |
| 3. | 15 | 0.600 |
| 4. | 20 | 0.928 |
| 5. | 25 | 1.216 |

Fig. 4. Calibration curve of p-coumaric acid in ethanol

3.2. For Method B

Table 3. Linearity of p-coumaric acid in pH 6.8 buffer

| Sr.no. | Concentration (µg/mL) | Absorbance |
| --- | --- | --- |
| 1. | 2 | 0.364 |
| 2. | 4 | 0.465 |
| 3. | 6 | 0.726 |
| 4. | 8 | 0.888 |
| 5. | 19 | 1.223 |

- Fig. 5. Calibration curve of p-coumaric acid in ethanol

3.2. Accuracy

Table 4. Accuracy determination of p-coumaric acid (method A)

| Sr.no. | % recovery level | Mean of absorbance | Standard deviation | % Relative standard deviation |
| --- | --- | --- | --- | --- |
| 1. | 80% | 0.458 | 0.012 | 0.026 |
| 2. | 100% | 0.668 | 0.076 | 0.113 |
| 3. | 120% | 0.022 | 0.024 | 1.082 |

Table 5. Accuracy determination of p-coumaric acid (method B)

| Sr.no. | % recovery level | Mean of Absorbance | Standard deviation | % Relative standard deviation |
| --- | --- | --- | --- | --- |
| 1. | 80% | 0.872 | 0.026 | 0.0229 |
| 2. | 100% | 1.086 | 0.1011 | 0.0925 |
| 3. | 120% | 1.425 | 0.077 | 0.0492 |

3.3. Precision

Table 6. Intraday precision study of p-coumaric acid (method A)

| Time/ Duration | Conc. (µg/mL) | Mean of absorbance | Standard deviation | % Relative standard deviation (%RSD) |
| --- | --- | --- | --- | --- |
| Morning | 10 | 0.788 | 0.0627 | 0.079 |
| Afternoon | 10 | 0.869 | 0.075 | 0.086 |
| Evening | 10 | 0.817 | 0.118 | 0.145 |

Table 7. Interday precision study of p-coumaric acid (method A)

| Time/ Duration | Conc. (µg/mL) | Mean absorbance | Standard deviation | % Relative standard deviation |
| --- | --- | --- | --- | --- |
| Morning | 10 | 0.788 | 0.063 | 0.074 |
| Afternoon | 10 | 0.851 | 0.076 | 0.088 |
| Evening | 10 | 1.433 | 0.082 | 0.057 |

Table 8. Intraday precision study of p-coumaric acid (method B)

| Day | Conc. (µg/mL) | Mean absorbance | Standard deviation | % Relative standard deviation |
| --- | --- | --- | --- | --- |
| First | 10 | 1.230 | 0.084 | 0.068 |
| Second | 10 | 1.141 | 0.042 | 0.037 |
| Third | 10 | 1.141 | 0.047 | 0.042 |

Table 9. Interday precision study of p-coumaric acid (method B)

| Day | Conc. (µg/mL) | Mean absorbance | Standard deviation | % Relative standard deviation |
| --- | --- | --- | --- | --- |
| First | 10 | 1.230 | 0.085 | 0.069 |
| Second | 10 | 1.091 | 0.132 | 0.121 |
| Third | 10 | 1.172 | 0.233 | 0.199 |

3.4. Robustness

Table 10. Evaluation data of robustness study for 
p-coumaric acid using 300 nm ± 2 nm (method A)

| Sr.No. | Wavelength 302 nm | Wavelength 298 nm |
| --- | --- | --- |
| 1. | 0.090 | 0.248 |
| 2. | 0.128 | 0.396 |
| 3. | 0.583 | 0.538 |
| 4. | 0.633 | 0.840 |
| 5. | 0.111 | 0.928 |
| Mean | 0.309 | 0.590 |
| SD | 0.245 | 0.258 |
| %RSD | 0.800 | 0.431 |

Table 11. Evaluation data of robustness study for 
p-coumaric acid using 284 nm ± 2 nm

| Sr.No. | Wavelength 282 nm | Wavelength 286 nm |
| --- | --- | --- |
| 1. | 0.120 | 0.117 |
| 2. | 0.341 | 0.340 |
| 3. | 0.427 | 0.425 |
| 4. | 0.799 | 0.801 |
| 5. | 0.801 | 0.800 |
| Mean | 0.498 | 0.497 |
| SD | 0.266 | 0.268 |
| %RSD | 0.543 | 0.531 |

3.5. Limit of detection and limit of quantification

Table 12. Evaluation data of LOD and LOQ for 
p-coumaric acid (method A)

| Sr. No. | Drug | Limit of detection (µg/mL) | Limit of quantification (µg/mL) |
| --- | --- | --- | --- |
| 1. | p-coumaric acid | 5.449 | 16.512 |

Table 13. Evaluation data of LOD and LOQ for 
p-coumaric acid (method B)

| Sr. No. | Drug | Limit of detection (µg/mL) | Limit of quantification (µg/mL) |
| --- | --- | --- | --- |
| 1. | p-coumaric acid | 1.792 | 5.420 |

3.6. Observation

Table 14. Antioxidant activity using the DPPH method

| Sample concentrations | Absorbance | %Inhibition | Concentration (µg/mL) |
| --- | --- | --- | --- |
| B1 | 0.272 | 5.122 | 25 |
| B2 | 0.270 | 8.236 | 50 |
| B3 | 0.262 | 10.445 | 100 |

Table 15. IC50 concentration of p-coumaric acid

| Formulation | Activity | IC50 (mg/mL) |
| --- | --- | --- |
| p-coumaric acid prepared gel | DPPH antioxidant free radical scavenging test | 0.833 |

Fig. 6. Percent inhibition of p-coumaric acid gel

4. Discussion

4.1. Linearity

For method A and method B, the absorbance of 
p-coumaric acid was measured at 229 nm and 283 nm. The calibration curves in ethanol and phosphate buffer pH 6.8 were plotted in a concentration range of 5–25 µg/mL and 2––10 µg/mL versus absorbance. The calibration curve for p-coumaric acid was linear over the concentration range of 5–25 µg/mL and 2–10 µg/mL, as shown in Table 2 and Table 3. The equation of the regression line was found to be 0.0516 x + 0.00992 and 0.1071 x + 0.0905. The correlation coefficient (R2) was found to be 0.98 and 0.97 as shown in Fig. 4 and Fig. 5.

4.2. Accuracy

For method A and method B, the values of SD and %RSD were found to be < 2%. These results confirm that the current method is accurate, as shown in Table 3 and Table 4.

4.3. Precision

In the proposed method A and method B, precision was studied as the repeatability of each concentration (%RSD<2) for intraday and interday precision. The %RSD of method A for intraday analysis of p-coumaric acid was found in the range of 0.079–0.145%. The observed result confirms that the intraday precision method was accurate, and for interday analysis of p-coumaric acid, it was found in the range of 0.057–0.088%. The observed result confirms that the interday precision method is accurate. Similarly, method B for intraday analysis of p-coumaric acid was found in the range of 0.037–0.068%. The observed result confirms that the intraday precision method was accurate. Interday analysis of p-coumaric acid was found in the range of 0.068–0.198%. The observed result confirmed that the interday precision method was accurate as shown in Table 6, Table 7, Table 8 and Table 9.

4.4. Robustness

The proposed method A and method B were found to be robust, as there is no interference from changes in wavelength as shown in Table 10 and Table 11.

4.5. Limit of detection and Limit of quantification

LOD and LOQ of the proposed UV spectrophotometric method were found to be 5.449 and 16.512 for method A and 1.792 and 5.420 for method B. The lower LOQ value indicated that the proposed method would be suitable for analyzing samples containing even small quantities of 
p-coumaric acid, as shown in Table 12 and Table 13.

4.6. Antioxidant Activity

After method development, the drug was incorporated in an aqueous gel, and antioxidant activity was analyzed using a DPPH radical scavenging assay. DPPH is known as a stable free radical α-diphenyl-β-picrylhydrazyl. The assay used the measurement of the scavenging ability of the antioxidants against DPPH. An odd electron of a nitrogen atom in DPPH was reduced by accepting a hydrogen atom from antioxidants. The reduction of color intensity (violet) of DPPH indicates the inhibition of free radicals, as shown in Fig. 6. In this research, the formulation containing p-coumaric acid composed of polyphenol content showed high antioxidant activity, as presented in Table 14. The proposed research revealed higher antioxidant activities of the prepared formulation (IC50 0.833 mg/mL), which inhibited 50% of free radicals produced by DPPH.

5. Conclusion

UV spectrometry validation of p-coumaric acid was developed using various ICH guidelines. This method was found to be uncomplicated, precise, accurate and robust, and can be applied for determining p-coumaric acid in pharmaceutical dosage forms. In the validation parameters of both methods A and B, the %RSD was less than 2%. The accuracy of the current methods was confirmed by carrying out accuracy parameters that showed results within the acceptable range. The UV spectrometric method was developed to quantify p-coumaric acid in a topical gel formulation. The validation method proves that this was an accurate method for quantifying p-coumaric acid in the formulation and demonstrated potential antioxidant activity. The relevance of the test of the formulation was the authentication of p-coumaric acid when blended into a formulation to determine its claimed antioxidant efficacy and confirm its effectiveness in several applications. This test involves a controlled medium to measure its radical-scavenging potential and reducing capacity. In addition, the behavior of p-coumaric acid in association with other compounds in the formulation should be precisely assessed to avoid compromising its antioxidant activity.

Author Contributions: Conceptualization, A. R. Madgulkar.; methodology, J W Gajbe.; Validation J.W. Gajbe.; investigation J W. Gajbe.; data curation A.R. Madgulkar, writing original draft J.W. Gajbe.; writing review and editing J.W. Gajbe and M.B. Shinde, visualization, J.W. Gajbe.; supervision, A. R. Madgulkar. All authors have read and agreed to the published version of the manuscript.

Funding: This research received no funding from any other agency

Acknowledgments: The authors would like to thank the Department of Pharmaceutics, AISSMS College of Pharmacy, Pune,-Maharashtra for the accomplishment of the valuable support utilizing laboratory and library facilities.

Conflict of Interest: The authors declare no conflict of interest, financial or otherwise.

References

- Rafiee, Z.; Moaiedi, M.Z.; Gorji, A.V.; Mansouri, E. 
p-Coumaric Acid Mitigates Doxorubicin-Induced Nephrotoxicity through Suppression of Oxidative Stress, Inflammation and Apoptosis. Arch. Med. Res. 2020, 51, 32–40. DOI: 10.1016/j.arcmed.2019.12.004

- Yao, C. S.; Lin, M.; Liu, X. Wang, Y. Stilbene derivatives from Gnetum cleistostachyum. J. Asian Nat. Prod. Res. 2005, 7(2), 131–137. DOI:  10.1080/‌10286020310001625102

- Gálvez, M.C.; Barroso, C.G.; Pérez-Bustamante, J.A. Analysis of polyphenolic compounds of different vinegar samples. Z. Lebensm. Unters. Forch. 1994, 199, 29-31. DOI: 10.1007/BF01192948

- Quinde, A.; Zory, B.;, Byung K. Phenolic Compounds of Barley Grain and their Implication in Food Product Discoloration. J. Agric. Food. Chem. 2006, 54(26), 9978–9984. DOI: 10.1021/jf060974w

- Mao, W.; Schuler, M.A.; Berenbaum, M.R. Honey constituents upregulate detoxification and immunity genes in the western honey bee Apis mellifera. Proc. Natl. Acad. Sci. USA 2013, 110, 8842-8846. DOI: 10.1073/‌pnas.1303884110

- Strandas, C.; Kamal Eldin, A.; Andersson, R.; Aman P. Phenolic glucosides in bread containing flaxseed. Food Chem. 2008, 110(4), 997-999. DOI: 10.1016/‌j.foodchem.‌2008.02.088

- Kaur, J.; Kaur, R. p-Coumaric acid: A naturally occurring chemical with potential therapeutic. Curr. Org. Chem. 2022, 26(14), 1333-1349. DOI: 10.2174/‌1385272826666221012145959

- Guven, M.; Aras, A.B.; Akman, T.; Sen, H.M.; Ozkan, A.; Salis, O.; Sehitoglu, I.; Kalkan,Y.; Silan, C.; Deniz, M.; et al. Neuroprotective effect of p-coumaric acid in rat model of emboliccerebral ischemia. Iran. J. Basic Med. Sci. 2015, 18, 356–363.

- Ferguson, L.R.; Lim, I.F.; Pearson, A.E.; Ralph, J.; Harris, P.J. Bacterial anti mutagenesis by hydroxycinnamic acids from plant cell-walls. Mutat. Res. 2003, 542(1-2), 49-58. DOI: 10.1016/j.mrgentox.‌2003.08.005

- Ueda, T.; Ito, T.; Kurita, H.; Inden, M.; Hozumi, I. 
p-Coumaric acid has protective effects against mutant copper-zinc superoxide dismutase 1 via the activation of autophagy in N2a cells. Int. J. Mol. Sci. 2019, 20, Art. No: 2942. DOI: 10.3390/ijms20122942

- Barros, M.P.; Lemos, M.; Maistro, E.L.; Leite, M.F.; Sousa, J.P.B.; Bastos, J.K.; de Andrade, S.F. Evaluation of antiulcer activity of the main phenolic acids found in Brazilian Green Propolis. J. Ethnopharmacol. 2008, 120, 372–377. DOI: 10.1016/‌j.jep.2008.09.015

- Kumari, B.; Khansili, A. Analytical method development and validation of UV-visible Spectrophotometric method for the estimation of vildagliptin in gastric medium. Drug Res. (Stuttg) 2020, 70(9), 417–23. DOI: 10.1055/a-1217-0296

- Pawar, S.M.; Khatal, L.D.; Gabhe, S.Y.; Dhaneshwar S.R. Establishment of the inherent stability of pramipexole and development of validated stability-indicating LC-UV and LC-MS method. J. Pharm. Anal. 2013, 3(2), 109–117. DOI: 10.1016/j.jpha.2012.07.011

- Priyanka, G.; Mohammad, W.; Ghadge, O. UV Spectrophotometric Method Development and Validation for Estimation of Tigecycline in Spiked Human Plasma. Int. J. Pharm. Sci. Rev. Res. 2020, 63(2), 98–101. DOI: 10.13040/IJPSR.0975-8232.13(12).5057-67

- Kristl, A.; Podgornik, A.; Pompe, M. Simultaneous separation of insulin and six therapeutic analogues on a mixed mode column: HPLC-UV method development and application. J. Chromatogr. B Anal. Technol. Biomed. Life Sci. 2021, 1171, Art. No: 122557. DOI: 10.1016/j.jchromb.2021.122557

- Paul, S.; Barai, L.; Husen, F.; Sarker, S.; Pal, T.K.; Bai, P. Analytical Method Development and Validation for Estimation of Ranitidine in Solid Dosage Form by UV Spectrophotometric Method. Orient. J. Chem. 2020, 36(6), 1161–1167. DOI: 10.13005/ojc/360621

- Prasad, A.R.; Thireesha, B. UV-spectrophotometric method development and validation for the determination of lornoxicam in microsponges. Int. J. Appl. Pharm. 2018, 10(1), 74–78. DOI: 10.22159/‌ijap.2018v10i1.22357

- Sun, T. et al. Comparative Study of High-throughput Screening Models for Anti-hyperpigmentation Compounds. Braz. Arch. Biol. Tech. 2022, 65, Art. No: e22210281. DOI: 10.1590/1678-4324-2022210281

- Priani, S.E.; Aprilia, S.; Aryani, R.; Purwanti, L. Antioxidant and tyrosinase inhibitory activity of face serum containing cocoa pod husk phytosome. J. Appl. Pharm. Sci. 2019, 9(10), 110-115. DOI: 10.7324/JAPS.‌2019.9101510

- Thangaraj, P. In Vitro Antioxidant Assays. In: Pharmacological Assays of Plant-Based Natural Products. Progress in Drug Research, Springer, Cham. 2016, 71. Pp. 57-72. DOI: 10.1007/978-3-319-26811-8

- Dini, I.; Laneri, S. The New Challenge of Green Cosmetics: Natural Food Ingredients for Cosmetic Formulations. Molecules 2021, 26(13), Art. No: 3921. DOI: 10.3390/molecules26133921

- Gülçın, İ.; Alwasel, S. DPPH Radical Scavenging Assay. Processes 2023, 11(8), Art. No: 2248. DOI: 10.3390/‌pr11082248